



OPERATIONS COMMITTEE


                     JUNE 19, 2002

SUBJECT:
MAINTENANCE OF EL MONTE STATION

ACTION:
RECEIVE AND FILE

RECOMMENDATION

Receive and File report on maintenance of El Monte Station.

ISSUE

The Board Chair requested an update on the MTA’s maintenance of the El Monte Station bus facility.  The general appearance of this structure and the level of security have been major concerns.

BACKGROUND

El Monte Station is a two-level, 23,340 square foot bus terminal, which is maintained by the MTA’s Facilities Maintenance Department. On a weekly basis, over 6,200 trips take place between the transportation service providers (MTA, Foothill Transit, and Greyhound). There is free parking available at this facility consisting of 2,095 parking stalls.  The public rest rooms, located on the lower level, are open from 5:00 a.m. to 9:00 p.m. on weekdays and from 5:00 a.m. to 5:00 p.m. weekends.

Facility Maintenance
The custodial service schedule remains unchanged with coverage 17 hours per day, from 6:30 a.m. to 11:30 p.m. Monday-Friday and 9:00 a.m. to 7:30 p.m. weekends.  Walkways are pressure washed twice weekly.  Custodial personnel remove graffiti, or surfaces are re-painted, if necessary.  Sacrificial material to guard against etching on elevator glass, windows and glass doors is replaced quarterly.

Facilities Maintenance Department personnel including electricians, plumbers, air conditioning technicians, property maintainers and locksmiths further maintain the station.  Between February 1 and May 7, these personnel made 52 service calls to this facility.

Since our last report on El Monte Station in February, the Facility Maintenance and Engineering Departments, in conjunction with San Gabriel Valley Sector management, modified a little used portion of the park and ride lot to relieve an overcrowding problem at the Terminal.  This job involved demolition of existing curbs and installation of new ones, soil compaction and paving, re-striping and new 

signage.  In addition, the entire park and ride lot was re-striped and curbs were re-painted.

Security

The MTA provides substantial security and law enforcement services at the El Monte Terminal through a combination of internal security patrol, fixed post contract security and through contracted law enforcement services from the Los Angeles County Sheriff's Department (LASD).  Additionally, the El Monte Police Department and the California Highway Patrol conduct periodic patrol of the area. 

Contract security provides one 24/7 fixed post assignment at the terminal.  This security guard conducts foot patrol of the terminal area and parking facilities.  MTA's internal security unit conducts periodic patrol of the area.  The LASD has its "East County Bus Team" at the El Monte Bus Division (Division 9) in a small substation.

The LASD's East County Bus Team is made up of 18 deputies, three bonus deputies and two sergeants.  This unit conducts patrol on all of the MTA's bus lines in the eastern part of Los Angeles County.  The unit has assigned one fixed-post position at the El Monte Terminal on Day Watch and PM Watch, five days per week.  In addition to the fixed post assignment, the LASD team conducts patrol of the El Monte Terminal on a frequent basis.  The team also conducts undercover operations and surveillance of the terminal as necessary.  Other special operations are conducted as necessary.  Over the past few weeks the LASD has conducted very successful undercover operations in the terminal area and have made arrests for lewd conduct and other crimes.

Staff intends to install a Closed Circuit Television (CCTV) system to enhance security for the El Monte Terminal in FY 03. This CCTV project will be installed if funding permits.  

As reported previously, although the MTA's use of this facility represents only about 50% of the service, no other agencies provide security at the El Monte Bus Terminal.

Transit Center Update
The MTA approved funds for a $1.8 million Foothill Transit Project to upgrade El Monte Station.  Upgrades include a transit store, new lighting and landscaping, new signage, passenger benches, restroom improvements and architectural enhancements.  Concurrently, San Gabriel Valley General Manager Jack Gabig is pursuing development of a facility improvement plan that encompasses the MTA’s Division 9 operating facility in El Monte, as well as the entire El Monte Bus Station. This plan will consider issues such as current bus station capacity and long term needs to accommodate future traffic volume, layover zones, circulation patterns, parking lot paving, signage and lighting improvements.   Mr. Gabig will coordinate closely with Foothill, the City of El Monte and Caltrans as the facility plan is developed.

Prepared by:  Don Ott, Director of Facilities Maintenance


          Daniel Cowden, Director of Security/Law Enforcement


                                     _                  
John B. Catoe, Jr.

Deputy Chief Executive Officer

Roger Snoble

Chief Executive Officer

El Monte Station

Page 3

